Medical Teaching Institution (MTI)

Bacha Khan Medical Complex

Swabi

BID SOLICITATION DOCUMENTS

For

Parts for AC’s and Refrigerators

Note: The prospective bidder is expected to examine the Bidding Documents carefully, including all Instructions, Terms & Conditions, and Specifications etc. Failure to furnish all information required by the Bidding documents or submission of a Bid not substantially responsive to the Bidding Documents in every respect would result in the rejection of the Bid.

__________________________	__________________________            _____________________

Manager Material Management	 Manager Facilities Management             Director Finance

GKMC/BKMC/MTI Swabi		     GKMC/BKMC/MTI Swabi	   GKMC/BKMC/MTI Swabi

__________________________         __________________________            _____________________

Director Nursing			    Medical Director                        Hospital Director

GKMC/BKMC/MTI Swabi		       GKMC/BKMC/MTI Swabi              GKMC/BKMC/MTI Swabi

TABLE OF CONTENTS

| S # | Contents | Page # |
| --- | --- | --- |
|  | Introduction | 2 |
|  | Instruction To Bidders | 2 |
|  | Eligible Bidders | 4 |
|  | General Conditions | 5 |
|  | Invitation For Bids | 6 |
|  | Bid Security | 7 |
|  | Bid Validity | 7 |
|  | Statement of Requirement with Specification | 8 |
|  | Award of Contract and Payment | 12 |

INTRODUCTION:

Medical Teaching Institution (MTI)/ Bacha khan Medical Complex Swabi invites. Item wise sealed bids from the eligible bidders (General order supplier or firms or companies) for procurement of Parts for AC’s and Refrigerators for Hospital Open Competitive Bidding under rule 6(2) (a) “Single Stage Single Envelope” bidding procedures of Khyber Pakhtunkhwa Public Procurement Regulatory Authority (KPPRA) Rules 2014.

- INSTRUCTIONS TO BIDDERS:

- This Bidding procedure will be conducted in light of Khyber Pakhtunkhwa Public Procurement Regulatory Authority (KPPRA) Laws, Rules made there under along with Standard Bidding Documents.

- The bids will be opened on ________2022 at ________AM in presence of the bidders/representatives who choose to attend.

- Pre-bid meeting with the interested bidders will be held on ________2022 at _______AM hrs in MMD Office of the Institution.

- Any bid received after the deadline for submission of bids shall not be entertained and shall be returned unopened to the Bidder.

- All the bidders are required to provide annexure wise complete requisite documents with page Qualification as prescribed under the rules.

- The bid should be complete in all respect and must be signed by the bidder.

- All prices quoted must be in Pak Rupees (PKR) and should include all applicable taxes and duties.

- Bidders are essentially required to provide correct and latest postal/email/web addresses, phone/mobile/fax numbers for actively and timely communication.

- For any query, clarification regarding Services / Bid Solicitation Documents, the applicants may send a written request at least one day prior to the opening date.

- The Bidder must be register with Khyber Pakhtunkhwa revenue authority.

- The Bidder may after its submission withdraw its bid prior to the expiry of the deadline prescribed for submission of bids. Withdrawn bids will be returned unopened to the Bidders.

- Any bid not received as per terms and conditions laid down in this document are 	liable to be ignored. No offer shall be considered if:

a. Received without earnest money;

b. It is received after the date and time fixed for its receipt;

c. The tender document and the bid is unsigned;

d. The offer is ambiguous;

e. The offer is conditional i.e. advance payment, or currency fluctuations etc.;

f. The offer is from blacklisted firm in any Federal / Provincial Govt. Deptt:

g. Only typed tender on original prescribing letter pad, sealed & signed (Every Page) should be submitted, the quoted Price must be pre printed and hand written quoted price will not be acceptable. The tenders must be according to hospital specification; alternate rates (Double rates for single Items) will not be acceptable.

- Usage of correction fluid & corrections are strictly prohibited unless duly initiated.

- Any erasing / cutting etc. appearing on the offer, must be properly signed by the person signing the tender.

- Bids will be rejected if the Bid is in some way connected with bids submitted under names different from his own.

- In case of Bid Tie, the decision will be taken by making toss/draw/Recall sealed quotation in front of the bidders.

- Any direct or indirect effort by a bidding firm to influence this institution during the process of selection of a bidder or award of contract may besides rejection of its bid result into its disqualification from participation in the BKMC Swabi's future bids.

2) 	ELIGIBILITY CRITERIA:

  - Bidders must give compliance to the below mentioned clauses as these are mandatory to being eligible for the bidding process. Relevant certificates must be attached.

  - The bidder must be registered with Income / Sales Tax Department, reflected as Active Tax Payer on the list of FBR.NTN

  - The bidder shall provide an undertaking that the bidder has not been declared black listed by any Governmental/ Semi-Governmental institutions.

  - The Bidder must be register with Khyber Pakhtunkhwa revenue authority.

  - Bidders shall not be eligible to bid if they are under a declaration of Ineligibility for corrupt and fraudulent practices issued by any government organization in accordance with the Section 44(1) KPP Rules 2014.

3.	GENERAL CONDITIONS:-

  - BKMC Swabi shall evaluate the proposal in a manner prescribed in advance, without reference to the price and reject any proposal which does not conform to the specified requirements.

  - Alternative bid shall not be considered and shall be rejected by the Competent 	Authority.

  - At any time prior to the deadline for submission of bids, BKMC Swabi may, for any reason, whether at its own initiative or in response to a clarification requested by a prospective Bidder, modify the bidding documents by amendment.

  - If a bid is not substantially responsive, it will be rejected by the Procuring Entity and may not subsequently be made responsive by the Bidder by correction of the nonconformity.

  - BKMC MTI Swabi may accept or reject any or all of the bids under Rule 47 of KPPRA Rules, 2014.

  - The Rates will be applicable for BKMC, GKMC, THQ Topi and THQ Chota Lahore hospital as well.

  - If the first lower bidder provides substandard which will reject by the end user, the same item will be purchase from the second bidder.

Bacha Khan Medical Complex

Medical Teaching institute

Swabi

________________________________________________________________________________________

INVITATION FOR BIDS

Hospital Director, Medical Teaching Institute, Bacha Khan Medical Complex Swabi invites sealed tenders on under National Competitive Bidding for the procurement of Parts for AC’s and refrigerator for Hospital, under rule 6(2)(a) “Single Stage Single Envelope Procedure” of KPPRA Rules 2014, from Income / Sales tax, reflected on Active Taxpayer List of FBR.

The bidders are required to submit bid security @ 100,000/- in the name of Hospital Director BKMC Swabi. Pre-bid meeting with the interested bidders will be held on ______2022 at _______ hrs at the address given below.

The tenders complete in all respect must reach the undersigned by _______2022 hrs on _______AM, which will be opened at ______ hrs on the same day in office of the Hospital in the presence of the procurement committee and the bidders / representatives who may choose to attend.

Competent Authority reserves the right to reject any or all the bids as per provisions contained in Rule 47 of KPPRA Rules 2014.

4.	BID Security

Bid security @ 100,000/- (refundable) drawn in favor of “Hospital Director BKMC Hospital” in shape of CDR or BC.

The bid security may be forfeited:

i) If a Bidder withdraws its bid during the period of bid validity specified 				    by the Bidder on the Bid Form; or

ii) In the case of a successful Bidder, if the Bidder fails to sign the contract

5.     BID VALIDITY:

- The bids should be valid for a period of 90 Days.

- In exceptional circumstances, BKMC swabi may solicit the Bidder’s consent to an extension of the period of validity reasons shell be recorded in writing. The request and the responses there to shall be made in writing. The bid security provided shall also be suitably extended. A Bidder may refuse the request without forfeiting its bid security. A Bidder granting the request will not be required nor permitted to modify its bid, except as provided in the bidding document.

Specification  parts of Ac,s and Refrigerator

| S.No | Item name | Price |
| --- | --- | --- |
| 1 | Blower New |  |
| 2 | Body Repair |  |
| 3 | Bush for Condenser Motor & Evaporator Motor |  |
| 4 | Circuit Breaker |  |
| 5 | Compressor ¾ Ton |  |
| 6 | Compressor 1 Ton |  |
| 7 | Compressor 1 ¼ Ton |  |
| 8 | Compressor 1 ½ Ton |  |
| 9 | Compressor 2 Ton |  |
| 10 | Compressor Repair |  |
| 11 | Condenser New |  |
| 12 | Evaporator New |  |
| 13 | Fan Blade |  |
| 14 | Fan Capacitor 3.5UF 1Uf, 2.2Uf, 3Uf, 5UF |  |
| 15 | Fan Motor bearing |  |
| 16 | Fan Motor Bush to bearing |  |
| 17 | Fan Motor New |  |
| 18 | Fan Motor rewinding |  |
| 19 | Foam filter |  |
| 20 | Gas charging |  |
| 21 | Grill Repair |  |
| 22 | Grill New |  |
| 23 | Magnetic Contactor I phase |  |
| 24 | Potential Relay |  |
| 25 | Power Plug 30Amp |  |
| 26 | Power Shoe 30 Amp |  |
| 27 | Running Capacitor 35/45/60/65 uf |  |
| 28 | Starting capacitor 80/110 UF |  |
| 29 | Selector Switch |  |
| 30 | Swing Motor |  |
| 31 | Thermostat |  |
| 32 | Circuit Repair /New |  |
| 33 | Iron Bracket |  |
| 34 | Magnetic contractor II Phase |  |
| 35 | 410 lead for AC |  |
| 36 | Capacitor 50uf 2 pole |  |
| 37 | Capacitor 50uf 3 pole |  |
| 38 | Capacitor 60uf 3 Pole |  |
| 39 | Clamp Meter |  |
| 40 | Copper pipe Tube Bender |  |
| 41 | Copper Pipe Tube Cutter |  |
| 42 | Drainage Pipe ½ for Ac’s |  |
| 43 | Gauge Manifold |  |
| 44 | Grip Plier |  |
| 45 | Insulation Pipe ½ for AC |  |
| 46 | Makita Mode Lithium Electric Brushless Screw Driver Impact Drill Ice Drill with high Torque |  |
| 47 | Multimeter unit |  |
| 48 | PCB Circuit Universal |  |
| 49 | PCB Daiken Circuit Out Door |  |
| 50 | Playing Nut ¼ for ACs |  |
| 51 | Playing Nut ½ for ACs |  |
| 52 | Playing Nut 3/8 for ACs |  |
| 53 | Playing Nut 5/8 for ACs |  |
| 54 | Pressure Washer 1400W for AC |  |
| 55 | Punching plier |  |
| 56 | Rotary Hammer Drill Machine / Hilti Machine Triple Function SMT-32mm-1500watt |  |
| 57 | Screw Driver plan |  |
| 58 | Screw Driver Star |  |
| 59 | Single Gauge High Pressure for AC |  |
| 60 | Single Gauge Low Pressure for AC |  |
| 61 | Soldering Iron (80 Watt) |  |
| 62 | Vaccume Pump 4 CFM |  |
| SPLIT TYPE |
| 63 | Blower new |  |
| 64 | Body Repair |  |
| 65 | Circuit Breaker |  |
| 66 | Compressor ¾ Ton |  |
| 67 | Compressor 1 Ton |  |
| 68 | Compressor 1 ¼ Ton |  |
| 69 | Compressor1 ½ Ton |  |
| 70 | Compressor 2 Ton |  |
| 71 | Compressor Repair |  |
| 72 | Condenser New |  |
| 73 | Copper pipe per feet |  |
| 74 | Evaporator New |  |
| 75 | Fan Blade |  |
| 76 | Fan Capacitor 1 UF, 2.2 UF 3.5 UF |  |
| 77 | Fan Motor bearing |  |
| 78 | Fan Motor Bush to bearing |  |
| 79 | Fan Motor New |  |
| 80 | Fan Motor rewinding |  |
| 81 | Gas charging |  |
| 82 | Installation |  |
| 83 | Insullation 1/2" |  |
| 84 | Magnetic Contactor I Phase |  |
| 85 | Potential Relay |  |
| 86 | Power Plug 30Amp |  |
| 87 | Power shoe 30Amp |  |
| 88 | Running Capacitor 35/45/60/65 UF |  |
| 89 | Starting Capacitor 80/110 UF |  |
| 90 | Selector Switch |  |
| 91 | Swing Motor |  |
| 92 | Thermostat |  |
| 93 | Circuit Repair |  |
| 94 | Drain Tray Repair |  |
| 95 | Drain Tray New |  |
| 96 | Iron Bracket |  |
| 97 | Terminal Strip |  |
| 98 | PCB Circuit (New) |  |
| 99 | PCB Circuit (Repair) |  |
| 100 | Copper pipe 1” |  |
| 101 | Connecting Wire 110/76 |  |
| 102 | Supply Wire 110/76 |  |
| SPLIT TYPE 5 TON |
| 103 | Blower New |  |
| 104 | Compressor 5 Ton |  |
| 105 | Condenser Fan New |  |
| 106 | Copper Pipe per feet |  |
| 107 | Duct Installation |  |
| 108 | Ducting per feet |  |
| 109 | Evaporator Motor Fan New |  |
| 110 | Copper pipe 3/8, ¾ |  |
| 111 | Fan Capacitor 10-UF |  |
| 112 | Fan Motor Bush to Bearing |  |
| 113 | Fan Motor Rewinding 2 Phase |  |
| 114 | Filter |  |
| 115 | Gas Charging |  |
| 116 | Installation |  |
| 117 | Magnetic Contractor 3 Phase |  |
| 118 | Magnetic Contractor Single phase |  |
| 119 | Pip Installation per feet |  |
| 120 | Thermostat |  |
| 121 | Transformer 24 Volt |  |
| 122 | Transformer rewinding 24 Volt |  |
| 123 | Circuit Repair |  |
| 124 | Circuit New |  |
| 125 | Blower Motor Rewinding |  |
| 126 | Connecting Wire 110/76 |  |
| REFRIGERATORS ITEMS |
| 127 | Body Repair |  |
| 128 | Body Paint |  |
| 129 | Compressor New ½ Ton |  |
| 130 | Compressor New 1/5 Ton |  |
| 131 | Compressor 1/6 Ton |  |
| 132 | Compressor New 1/6 Ton |  |
| 133 | Compressor New 1/7 Ton |  |
| 134 | Compressor New 1/8 Ton |  |
| 135 | Condenser Fan New |  |
| 136 | Condense Fan Motor Repair |  |
| 137 | Electronic Relay |  |
| 138 | Freezer New |  |
| 139 | Gas Charging |  |
| 140 | Indoor bulb |  |
| 141 | Over Load |  |
| 142 | Potential Relay |  |
| 143 | Relay |  |
| 144 | Evaporator fan Motor |  |
| 145 | Condenser Fan Blade Condenser Fan Blade |  |
| 146 | Thermostat |  |
| 147 | Gas kit New |  |
| 148 | Door Hook |  |
| 149 | Condenser Fan Motor |  |
| 150 | Starting Capacitor 80/110-UF |  |
| WATER COLLER |
| 151 | Compressor ¼ |  |
| 152 | Compressor 1/3 |  |
| 153 | Compressor ½ |  |
| 154 | Gas charging |  |
| 155 | Water tank (New) |  |
| 156 | Water Tank Repair |  |
| 157 | Condenser Fan ( large / Small ) |  |
| 158 | Thermostat |  |
| 159 | Relay |  |
| 160 | Over Load |  |
| 161 | Water Tape |  |
| 162 | Body repair |  |
| FLOOR STANDING 4 TON ACS |
| 163 | Compressor 4 ton |  |
| 164 | Gas Charging |  |
| 165 | PCB circuit (new) |  |
| 166 | PCB circuit Repair |  |
| 167 | Indoor fan motor |  |
| 168 | Indoor Blower |  |
| 169 | Condenser Fan motor |  |
| 170 | Condenser fan blade |  |
| 171 | Magnetic Contactor 3 III phase |  |
| 172 | Overload for Magnetic Contactor |  |
| 173 | Phase Flair |  |
| 174 | Motor rewinding |  |
| 175 | Fan capacitor |  |
| 176 | Body repair |  |
| 177 | Stand angle iron |  |
| 178 | Installation |  |
| 179 | Copper Pipe ¾” per Rft |  |
| 180 | Copper Pipe 1” per Rft |  |
| 182 | Copper Pipe 3/8 per Rft |  |
| 183 | Insulation per feet 3/8 |  |
| 184 | Insulation per feet ¾ |  |
| 185 | Insulation per feet 1" |  |
| 186 | Gas R-22 (usa) cylinder |  |
| 187 | Copper Pipe 1/4" |  |
| 188 | Insullation 1/2" |  |
| 189 | Insullation 1/4" |  |
| 190 | Gas R-134 orginal (usa) Cylinder |  |
| 191 | Gas R-410 (usa) cylinder |  |
| 192 | Gas R-32 (usa) cylinder |  |

Invertor AC’s

| 193 | DC Invertor AC indoor PCB Board |  |
| --- | --- | --- |
| 194 | DC Invertor AC Outdoor PCB Board |  |
| 195 | DC Invertor AC Ambient sensor |  |
| 196 | DC Invertor AC Coil sensor |  |
| 197 | DC Invertor AC Air sensor |  |
| Total |  |

Note:

- Sample may be called from the Lowest bidder.

- All Supplies are subjected to acceptance by inspection committee/ Sample Acceptance Committee.

8.	Award of Contract:

Contracts shall be confirmed through a written agreement signed by the successful bidder and the MTI /BKMC Swabi.

9.	Payment:

- No advance payment will be permissible all the taxes, duties at the time of payment will be deducted at source.

- The payment will be made after successful supply and inspection.